Corbet Water Supply

 MCL Coliform Violation (TCR22)

The Corbet Water Supply system collected three (3) water

Samples during November 2,2015 that contained coliform bacteria.

This water system is required to submit a minimum of Three (3)

distribution routine water samples each month for bacteriological

analysis. All three(3) routine samples were coliform-found and

none (0) repeat samples were coliform- found for the month and year

indicated above. The TCEQ sets drinking water standards in Texas

and has determined that the presence of total coliform is a possible

health concern. Coliforms are bacteria that are naturally present in

the environment and are used as an indicator that other, potentially-

harmful, bacteria may be present. Coliforms were found in more

samples than allowed and this was a warning of potential problems.

For water systems analyzing at least 40 samples per month, no more

than five(5) percent of the monthly samples may be positive foe total

coliform. For systems analyzing fewer than40 samples per month, no

more than one (1) sample per month may be positive for total coliform.

If you have any question regarding this matter, you may contact,

David Weinkauf General Manager at 903-874-4821.